## bldg1
BuildingInput | Value
GrossArea_ft2 | 20000 |  |  | 1
GrossCondArea_ft2 | 20000 |  |  | 2
IntCondArea_ft2 | 18602 |  |  | 3
BldgPercentAreaCooled | 100 |  |  | 4
BldgNumberOfUnits | 18 |  |  | 5
BldgNumberOf1BRunits | 0 |  |  | 6
BldgNumberOf2BRunits | 15 |  |  | 7
BldgNumberOf3BRunits | 0 |  |  | 8
BldgNumberOf4BRunits | 3 |  |  | 9
BldgNumberOfOccupants | 60 |  |  | 10
BldgNumberOf Stories | 4 |  |  | 11
BldgYearOfConstruction | 1940 |  |  | 12
IntVolume_ft3 | 640000 |  |  | 13
AirLeakageRate_cfm50perFt2 | 0.55 |  |  | 14
ShieldingClass | 3 |  |  | 15
HVACstartTimePeriod1 | 6 |  |  | 16
HVACendTimePeriod1 | 18 |  |  | 17
Heat1Setpt_F | 72 |  |  | 18
Heat2Setpt_F | 72 |  |  | 19
Cool1Setpt_F | 72 |  |  | 20
Cool2Setpt_F | 72 |  |  | 21
TargetRHsummer | 50 |  |  | 22
TargetRHwinter | 40 |  |  | 23
BuildingInput | Value
Name | SmallBuildingTest |  |  | 24
BldgPopulationType | mixed |  |  | 25
ThermalMass | light |  |  | 26
BuildingInput | Value
HeatSeasonStartDate | 2023-09-20 |  |  | 27
HeatSeasonEndDate | 2023-06-01 |  |  | 28
CoolSeasonStartDate | 2023-05-15 |  |  | 29
CoolSeasonEndDate | 2023-10-15 |  |  | 30
Year of manufacture | kWh/year | Factor | drop down list
Pre1976 | 2200 | 100 | Pre1976
1976-86 | 1700 | 75 | from1976to1986
1987-89 | 1150 | 55 | from1987to1989
1990-92 | 1100 | 50 | from1990to1992
1993-00 | 850 | 40 | from1993to2000
2001+ | 600 | 35 | year2001andLater
2001-04 Energy Star | 550 | 30 | from2001to2004EnergyStar
2004-08 Energy Star | 525 | 25 | from2004to2008EnergyStar
2008-10 Energy Star | 500 | 20 | from2008toi2010EnergyStar
CEE Tier 3 | 425 | 20 | CEEtier3
from original audit calc sheet |  | calculator adds or subtracts "Factor" for each CF above or under 22
https://michaelbluejay.com/electricity/refrigerators.html
Building population type enumeration list
mixed
elderly
families
drop down menu for building thermal mass
light
medium
heavy
dropdown menu for energy source
electricity
gas
propane
oil
wood
none
dropdown menu for in unit clothes washer type
FrontLoadingLessThan2_5cubicFeet
FrontLoadingGreaterThan2_5cubicFeet
TopLoading

## bldg2
BuildingInput | Value
GrossArea_ft2 | 80000 |  |  | 1
GrossCondArea_ft2 | 80000 |  |  | 2
IntCondArea_ft2 | 18602 |  |  | 3
BldgPercentAreaCooled | 100 |  |  | 4
BldgNumberOfUnits | 18 |  |  | 5
BldgNumberOf1BRunits | 0 |  |  | 6
BldgNumberOf2BRunits | 15 |  |  | 7
BldgNumberOf3BRunits | 0 |  |  | 8
BldgNumberOf4BRunits | 3 |  |  | 9
BldgNumberOfOccupants | 60 |  |  | 10
BldgNumberOf Stories | 4 |  |  | 11
BldgYearOfConstruction | 1940 |  |  | 12
IntVolume_ft3 | 720000 |  |  | 13
AirLeakageRate_cfm50perFt2 | 0.55 |  |  | 14
ShieldingClass | 3 |  |  | 15
HVACstartTimePeriod1 | 6 |  |  | 16
HVACendTimePeriod1 | 18 |  |  | 17
Heat1Setpt_F | 72 |  |  | 18
Heat2Setpt_F | 72 |  |  | 19
Cool1Setpt_F | 72 |  |  | 20
Cool2Setpt_F | 72 |  |  | 21
TargetRHsummer | 50 |  |  | 22
TargetRHwinter | 40 |  |  | 23
BuildingInput | Value
Name | LargeBuildingTest |  |  | 24
BldgPopulationType | mixed |  |  | 25
ThermalMass | light |  |  | 26
BuildingInput | Value
HeatSeasonStartDate | 2023-09-20 |  |  | 27
HeatSeasonEndDate | 2023-06-01 |  |  | 28
CoolSeasonStartDate | 2023-05-15 |  |  | 29
CoolSeasonEndDate | 2023-10-15 |  |  | 30
Year of manufacture | kWh/year | Factor | drop down list
Pre1976 | 2200 | 100 | Pre1976
1976-86 | 1700 | 75 | from1976to1986
1987-89 | 1150 | 55 | from1987to1989
1990-92 | 1100 | 50 | from1990to1992
1993-00 | 850 | 40 | from1993to2000
2001+ | 600 | 35 | year2001andLater
2001-04 Energy Star | 550 | 30 | from2001to2004EnergyStar
2004-08 Energy Star | 525 | 25 | from2004to2008EnergyStar
2008-10 Energy Star | 500 | 20 | from2008toi2010EnergyStar
CEE Tier 3 | 425 | 20 | CEEtier3
from original audit calc sheet |  | calculator adds or subtracts "Factor" for each CF above or under 22
https://michaelbluejay.com/electricity/refrigerators.html
Building population type enumeration list
mixed
elderly
families
drop down menu for building thermal mass
light
medium
heavy
dropdown menu for energy source
electricity
gas
propane
oil
wood
none
dropdown menu for in unit clothes washer type
FrontLoadingLessThan2_5cubicFeet
FrontLoadingGreaterThan2_5cubicFeet
TopLoading